## Sheet2
Ref | Section | Item | Comments
1 | 4.1.1 | Does a documented site emergency plan exist?
2 | 4.1.2 | Have individuals been appointed to the roles defined in the plan?
3 | 4.1.3; 4.1.4 | Is the plan tested annually and then updated accordingly?
4 | 4.1.5 | Have one or more Fire Safety Advisors been appointed for the site?
5 | 4.2.1 | Have Building fire Managers been appointed to cover all buildings used by the department?
6 | 4.2.2 | Have sufficient Building wardens been appointed, and are the records kept up to date?
7 | 4.2.3 | Have Hot Works Permit Issuers been appointed?
8 | 4.3.2 | Has the BFM chaired a FRA review meeting in the last year?
9 | 4.5.1 | Is there evidence of suitable and sufficient maintenance of the relevant site infrastructure?
10 | 4.5.5 | Do a comprehensive and up to date set of building drawings exist?
11 | 4.5.6; App 2 | Is there evidence that the work on Fire Detection Systems is being done using a Permit to Work system?
12 | 4.6.2 | Do complete FRAs exist for all buildings?
13 | 4.6.4 | Has a Fire Drill been carried out for every building within the last 12 months?
14 | 4.6.3 | Is there evidence of inspection - and where necessary maintenance - of all Fire Extinguishers – portable or fixed?
15 | 4.6.6 | Have all False Fire Alarms been investigated to determine the route cause?
16 | 4.7.1 | Are frequent fire training sessions provided for those on the site?
17 | 4.7.1 | Are training records updated regularly?
18 | 4.8.2 | Has advice been sought to produce PEEP’s when required?
19 | 4.8.5; 4.9.2; App 3 | Is there evidence that Hot Works are being done under a Hot Works Permit?
20 | 4.1.2; 4.1.3; 4.1.5; 4.4.1; 4.4.1; 4.8.1; 4.9.1; 4.10.1; App 5 | Have staff, long term contractors, tenants etc undertaken relevant training/refresher training for their role within the appropriate timescale?